## Readme and Disclaimer
Readme
This document accompanies the Wallgrove Grid Battery Operational Data published at https://www.transgrid.com.au/projects-innovation/wallgrove-grid-battery and provides details of:
- What each field means and how it should be interpreted
- For fields that are taken directly from other sources - how/where the source data is obtained
- For fields that are calculated - details of the calculation
Disclaimer
The Wallgrove Grid Battery Operational Data (data) and this document are prepared and made available by Transgrid solely for knowledge sharing purposes. They are made available on the understanding that Transgrid and/or its employees, agents and consultants are not engaged in rendering professional advice. Nothing in this document or the data should be used to form a recommendation in respect of any possible investment.
The data and this document include information obtained from AEMO’s public MMS database at www.nemweb.com.au and AEMO’s settlement procedures for the applicable revenue sources. That information has been adopted in good faith without further enquiry or verification.
The data and this document may be updated at any time without notice.
The revenue estimates provided as part of the data may not reflect actual outcomes due to errors in underlying data or due to contract positions held by Iberdrola Australia (the Registered Participant for the battery at the time of writing). Accordingly, the data should not be used as an indication of the net revenues earned by Iberdrola Australia from the battery’s operations.
In all cases, anyone proposing to use the information in the data or this document should:
1. Independently verify and check the currency, accuracy, completeness, reliability and suitability of that information;
2. Independently verify and check the currency, accuracy, completeness, reliability and suitability of information relied on by Transgrid in preparing the data or this document;
3. Obtain independent and specific advice from appropriate experts or other sources.
Accordingly, Transgrid makes no representations or warranty as to the currency, accuracy, reliability, completeness or suitability for particular purposes of the information in the data or this document.
Persons utilising the data or this document acknowledge and accept that Transgrid and/ or its employees, agents and consultants have no liability for any direct, indirect, special, incidental or consequential damage (including liability to any person by reason of negligence or negligent misstatement) for any damage resulting from, arising out of or in connection with, reliance upon statements, opinions, information or matter (expressed or implied) arising out of, contained in or derived from, or for any omissions from the information in the data or this document, except insofar as liability under any NSW and Commonwealth statute cannot be excluded.
This Project received funding from ARENA as part of ARENA’s Advancing Renewables Program and was proudly funded by the NSW Government, Emerging Energy Program.
The views expressed herein are not necessarily the views of the Australian Government, and the Australian Government does not accept responsibility for any information or advice contained herein.
The views expressed herein are not necessarily the views of the NSW Government. The NSW Government does not accept responsibility for any information or advice contained herein.

## Explanation of data fields
Field Name |  | Settlement | Storage Capacity |  | Power Imported |  |  |  | Estimated Energy Imported |  |  | Power Exported |  |  |  | Estimated Energy Exported |  |  | Reactive Power |  | NSW RRP | [8 empty] | FCAS Enablement | [9 empty] | Marginal Loss Factor (MLF) |  | Estimated Gross Revenue
|  |  | Storage Capacity | Storage Capacity | Power Imported | Power Imported | Power Imported | Power Imported | Estimated Energy Imported | Estimated Energy Imported | Estimated Energy Imported | Power Exported | Power Exported | Power Exported | Power Exported | Estimated Energy Exported | Estimated Energy Exported | Estimated Energy Exported | Reactive Power | Reactive Power | NSW RRP | NSW RRP | NSW RRP | NSW RRP | NSW RRP | NSW RRP | NSW RRP | NSW RRP | NSW RRP | FCAS Enablement | FCAS Enablement | FCAS Enablement | FCAS Enablement | FCAS Enablement | FCAS Enablement | FCAS Enablement | FCAS Enablement | FCAS Enablement | FCAS Enablement | Marginal Loss Factor (MLF) | Marginal Loss Factor (MLF) | Estimated Gross Revenue | Estimated Gross Revenue | Estimated Gross Revenue | Estimated Gross Revenue | Estimated Gross Revenue | Estimated Gross Revenue | Estimated Gross Revenue | Estimated Gross Revenue | Estimated Gross Revenue | Estimated Gross Revenue | Estimated Gross Revenue
| Quantity | Date | Used | Available | Average | Instantaneous | Dispatch Target | Ramp Duration | Total | Due to energy target | Due to FCAS & PFR | Average | Instantaneous | Dispatch Target | Ramp Duration | Total | Due to energy target | Due to FCAS & PFR | Import | Export | Energy | Lower5min | Lower60sec | Lower6sec | LowerReg | Raise5min | Raise60sec | Raise6sec | RaiseReg | Lower5min | Lower60sec | Lower6sec | LowerReg WALGRVL1 | RaiseReg WALGRVL1 | Raise5min | Raise60sec | Raise6sec | LowerReg WALGRVG1 | RaiseReg WALGRVG1 | WALGRVL1 | WALGRVG1 | Energy Import | Energy Export | Energy Net | Lower5min | Lower60sec | Lower6sec | LowerReg | Raise5min | Raise60sec | Raise6sec | RaiseReg
| Units | UTC+10 | MWh | MWh | MW | MW | MW | minutes | MWh | MWh | MWh | MW | MW | MW | minutes | MWh | MWh | MWh | Mvar | Mvar | $/MWh | $/MW/hr | $/MW/hr | $/MW/hr | $/MW/hr | $/MW/hr | $/MW/hr | $/MW/hr | $/MW/hr | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW |  |  | $ | $ | $ | $ | $ | $ | $ | $ | $ | $ | $
| Full field name in CSV file | Settlement Date (UTC+10) | Storage Capacity Used (MWh) | Storage Capacity Available (MWh) | Power Imported Average (MW) | Power Imported Instantaneous (MW) | Power Imported Dispatch Target (MW) | Power Imported Ramp Duration (minutes) | Estimated Energy Imported Total (MWh) | Estimated Energy Imported Due to energy target (MWh) | Estimated Energy Imported Due to FCAS & PFR (MWh) | Power Exported Average (MW) | Power Exported Instantaneous (MW) | Power Exported Dispatch Target (MW) | Power Exported Ramp Duration (minutes) | Estimated Energy Exported Total (MWh) | Estimated Energy Exported Due to energy target (MWh) | Estimated Energy Exported Due to FCAS & PFR (MWh) | Reactive Power Import (Mvar) | Reactive Power Export (Mvar) | NSW RRP Energy ($/MWh) | NSW RRP Lower5min ($/MW/hr) | NSW RRP Lower60sec ($/MW/hr) | NSW RRP Lower6sec ($/MW/hr) | NSW RRP LowerReg ($/MW/hr) | NSW RRP Raise5min ($/MW/hr) | NSW RRP Raise60sec ($/MW/hr) | NSW RRP Raise6sec ($/MW/hr) | NSW RRP RaiseReg ($/MW/hr) | FCAS Enablement Lower5min (MW) | FCAS Enablement Lower60sec (MW) | FCAS Enablement Lower6sec (MW) | FCAS Enablement LowerReg WALGRVL1 (MW) | FCAS Enablement RaiseReg WALGRVL1 (MW) | FCAS Enablement Raise5min (MW) | FCAS Enablement Raise60sec (MW) | FCAS Enablement Raise6sec (MW) | FCAS Enablement LowerReg WALGRVG1 (MW) | FCAS Enablement RaiseReg WALGRVG1 (MW) | Marginal Loss Factor (MLF) WALGRVL1 | Marginal Loss Factor (MLF) WALGRVG1 | Estimated Gross Revenue Energy Import ($) | Estimated Gross Revenue Energy Export ($) | Estimated Gross Revenue Energy Net ($) | Estimated Gross Revenue Lower5min ($) | Estimated Gross Revenue Lower60sec ($) | Estimated Gross Revenue Lower6sec ($) | Estimated Gross Revenue LowerReg ($) | Estimated Gross Revenue Raise5min ($) | Estimated Gross Revenue Raise60sec ($) | Estimated Gross Revenue Raise6sec ($) | Estimated Gross Revenue RaiseReg ($)
Data source details | Source File | Corresponds to SETTLEMENTDATE in NEXT_DAY_DISPATCH & PUBLIC_PRICES | Transgrid SCADA | Transgrid SCADA | NEMWEB - 4-sec causer pays | NEMWEB - NEXT DAY DISPATCH |  | (Calculated) | (Calculated) | (Calculated) | (Calculated) | NEMWEB - 4-sec causer pays | NEMWEB - NEXT DAY DISPATCH |  | (Calculated) | (Calculated) | (Calculated) | (Calculated) | Transgrid SCADA | Transgrid SCADA | NEMWEB - PUBLIC PRICES | [8 empty] | NEMWEB - NEXT DAY DISPATCH | [9 empty] | NEMWEB - MARGINAL LOSS FACTORS |  | (Calculated) | (Calculated) | (Calculated) | (Calculated) | (Calculated) | (Calculated) | (Calculated) | (Calculated) | (Calculated) | (Calculated) | (Calculated)
| Download link |  |  |  | http://www.nemweb.com.au/Reports/Current/Causer_Pays/ | http://nemweb.com.au/Reports/Current/Next_Day_Dispatch/ | [5 empty] | http://www.nemweb.com.au/Reports/Current/Causer_Pays/ | http://nemweb.com.au/Reports/Current/Next_Day_Dispatch/ | [7 empty] | http://nemweb.com.au/Reports/Current/Public_Prices/ | [8 empty] | http://nemweb.com.au/Reports/Current/Next_Day_Dispatch/ | [9 empty] | http://nemweb.com.au/Reports/Current/Marginal_Loss_Factors/
| More info link |  |  |  | https://aemo.com.au/en/energy-systems/electricity/national-electricity-market-nem/data-nem/ancillary-services-data/ancillary-services-market-causer-pays-data | https://visualisations.aemo.com.au/aemo/nemweb/index.html#next-day-dispatch | [5 empty] | https://aemo.com.au/en/energy-systems/electricity/national-electricity-market-nem/data-nem/ancillary-services-data/ancillary-services-market-causer-pays-data | https://visualisations.aemo.com.au/aemo/nemweb/index.html#next-day-dispatch | [7 empty] | https://visualisations.aemo.com.au/aemo/nemweb/index.html#public-prices | [8 empty] | https://visualisations.aemo.com.au/aemo/nemweb/index.html#next-day-dispatch | [9 empty] | https://visualisations.aemo.com.au/aemo/nemweb/mmsdatamodelreport/electricity/mms%20data%20model%20report_files/MMS_208.htm
| Report Type |  |  |  | N/A | UNIT_SOLUTION | UNIT_SOLUTION |  |  |  |  | N/A | UNIT_SOLUTION | [7 empty] | DREGION | [8 empty] | UNIT_SOLUTION | [9 empty] | DAILY
| Report Version |  |  |  |  | 3 | [6 empty] | 3 | [7 empty] | 3 | [8 empty] | 3 | [9 empty] | 1
| Filters |  |  |  | Element # = 460 Variable # = 2 | INTERVENTION=1 during interventions INTERVENTION=0 at all other times | [5 empty] | Element # = 459 Variable # = 2 | INTERVENTION=1 during interventions INTERVENTION=0 at all other times | [7 empty] | REGIONID = NSW1 INTERVENTION = 0 | [8 empty] | INTERVENTION=1 during interventions INTERVENTION=0 at all other times | [9 empty] | N/A
| Relevant DUID |  |  |  | WALGRVL1 | [6 empty] | WALGRVG1 | [8 empty] | N/A | [8 empty] | WALGRVL1 |  |  |  |  | WALGRVG1 |  |  |  |  | WALGRVL1 | WALGRVG1
| Source Field |  |  |  | 4. Value (averaged over interval) | INITIALMW | TOTALCLEARED |  |  |  |  | 4. Value (averaged over interval) | INITIALMW | TOTALCLEARED | [6 empty] | RRP | LOWER5MINRRP | LOWER60SECRRP | LOWER6SECRRP | LOWERREGRRP | RAISE5MINRRP | RAISE60SECRRP | RAISE6SECRRP | RAISEREGRRP | LOWER5MIN | LOWER60SEC | LOWER6SEC | LOWERREG | RAISEREG | RAISE5MIN | RAISE60SEC | RAISE6SEC | LOWERREG | RAISEREG | TRANSMISSIONLOSSFACTOR
Notes | What the field means, and/or how it is calculated | 04:05 represents dispatch/trading interval from 04:00 to 04:05. All times are AEST (UTC+10), i.e. no daylight saving. | Amount of energy currently stored in the BESS, measured at the end of the interval | Maximum amount of energy that could be stored in the BESS, measured at the end of the interval | Average MW over the interval - calculated as the average of all the 4-second MW measurements over the interval | Actual MW, measured at the start of the interval (i.e. 5 mins prior to the Settlement Date) | Target MW at end of interval | Time to ramp to next target. This is usually 5 mins, but may be less, e.g. if ramping from 10MW import to 10MW export within the same interval, this DUID will need to ramp from 10MW to its new target (0MW) within the first 2.5mins. | Total MWh imported/exported over the interval. Estimate based on Average MW over the interval | Total MWh that would have been imported/exported if the BESS ramped linearly from the previous dispatch target to the current dispatch target, with no adjustments for regulation FCAS, contingency FCAS, or PFR | Difference between target MWh and actual MWh, which is assumed to be all caused by regulation FCAS, contingency FCAS, and PFR | Average MW over the interval - calculated as the average of all the 4-second MW measurements over the interval | Actual MW, measured at the start of the interval (i.e. 5 mins prior to the Settlement Date) | Target MW at end of interval | Time to ramp to next target. This is usually 5 mins, but may be less, e.g. if ramping from 10MW import to 10MW export within the same interval, this DUID will need to ramp from 0MW to 10MW within the last 2.5 mins. | Total MWh imported/exported over the interval. Estimate based on Average MW over the interval | Total MWh that would have been imported/exported if the BESS ramped linearly from the previous dispatch target to the current dispatch target, with no adjustments for regulation FCAS, contingency FCAS, or PFR | Difference between target MWh and actual MWh, which is assumed to be all caused by regulation FCAS, contingency FCAS, and PFR | Reactive power imported/exported, averaged over the interval. |  | Regional Reference Price for each of the 9 NEM spot markets, post intervention. | [8 empty] | Wallgrove BESS enablement for each of the 8 FCAS markets, post intervention. For contingency FCAS, WALGRVL1 only bids for lower services, and WALGRVG1 only bids for raise services. For regulation FCAS, WALGRVL1 and WALGRVG1 both bid for raise and lower services. | [11 empty] | Estimate of energy revenue, based on estimated MWh imported/exported over the interval, and public data on prices and MLFs. Energy Revenue ($) = Energy (MWh) * Price ($/MWh) * MLF Import costs are shown as negative revenue. |  |  | Estimate of FCAS revenue, based on public data on FCAS enablement and prices. FCAS Revenue = FCAS Enablement (MW) * Price ($/MW/h) / 12 NB figures for LowerReg and RaiseReg include enablement of both WALGRVL1 and WALGRVG1
Sample Data, showing Excel formulae for calculated fields |  | 2022-06-01 04:05 | 15.3927 | 96.0894 | 0 | 0 | 0 | #N/A | 0 | #N/A | #N/A | 0 | 0 | 0 | #N/A | 0 | #N/A | #N/A | 0.62338 | 0 | 352 | 0.5 | 4.89 | 1.84 | 8.3 | 0.5 | 2.25 | 5.28 | 14.92 | 14 | 0 | 0 | 22 | 0 | 0 | 19 | 33 | 0 | 0 | 1.001 | 1.0011 | 0 | 0 | 0 | 0.58333 | 0 | 0 | 15.2167 | 0 | 3.5625 | 14.52 | 64.6533
|  | 2022-06-01 04:10 | 15.3625 | 96.1007 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.48647 | 0 | 364.9802 | 0.5 | 1.84 | 0.5 | 5.94 | 0.5 | 0.75 | 2 | 9.98 | 14 | 0 | 14 | 32 | 0 | 26 | 0 | 0 | 0 | 0 | 1.001 | 1.0011 | 0 | 0 | 0 | 0.58333 | 0 | 0.58333 | 15.84 | 1.0833 | 0 | 0 | 0
|  | 2022-06-01 04:15 | 15.3346 | 96.1215 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.43793 | 0 | 447.8684 | 0.5 | 4.99 | 0.5 | 8.81 | 0.5 | 0.73 | 0.95 | 9.98 | 26 | 26 | 26 | 0 | 0 | 26 | 19 | 33 | 0 | 0 | 1.001 | 1.0011 | 0 | 0 | 0 | 1.0833 | 10.8117 | 1.0833 | 0 | 1.0833 | 1.1558 | 2.6125 | 0
|  | 2022-06-01 04:20 | 15.309 | 96.1423 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.47044 | 0 | 352 | 0.5 | 3.61 | 0.5 | 5.49 | 0.5 | 0.75 | 1.48 | 9.98 | 26 | 26 | 26 | 9 | 0 | 26 | 19 | 0 | 0 | 0 | 1.001 | 1.0011 | 0 | 0 | 0 | 1.0833 | 7.8217 | 1.0833 | 4.1175 | 1.0833 | 1.1875 | 0 | 0
|  | 2022-06-01 04:25 | 15.2816 | 96.1631 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.34245 | 0 | 449.99 | 0.41 | 1.95 | 0.5 | 5.19 | 0.5 | 0.73 | 0.95 | 9.98 | 26 | 0 | 0 | 0 | 0 | 26 | 19 | 18.8124 | 0 | 0 | 1.001 | 1.0011 | 0 | 0 | 0 | 0.88833 | 0 | 0 | 0 | 1.0833 | 1.1558 | 1.4893 | 0
|  | 2022-06-01 04:30 | 15.2616 | 96.1839 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.39252 | 0 | 300.01 | 0.41 | 1.81 | 0.45 | 13.31 | 0.5 | 0.73 | 0.95 | 9.98 | 26 | 0 | 0 | 0 | 0 | 26 | 19 | 7.1841 | 0 | 0 | 1.001 | 1.0011 | 0 | 0 | 0 | 0.88833 | 0 | 0 | 0 | 1.0833 | 1.1558 | 0.56874 | 0
|  | 2022-06-01 04:35 | 15.2392 | 96.2047 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1525 | 0 | 352 | 0.41 | 3.39 | 0.5 | 4.99 | 0.5 | 0.75 | 0.95 | 10 | 16 | 16 | 16 | 30 | 0 | 26 | 19 | 33 | 0 | 0 | 1.001 | 1.0011 | 0 | 0 | 0 | 0.54667 | 4.52 | 0.66667 | 12.475 | 1.0833 | 1.1875 | 2.6125 | 0
|  | 2022-06-01 04:40 | 15.2112 | 96.2255 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16456 | 0 | 352 | 0.2 | 0.5 | 0.2 | 4.94 | 0.5 | 0.5 | 0.86 | 10 | 26 | 0 | 26 | 9 | 0 | 26 | 19 | 33 | 0 | 0 | 1.001 | 1.0011 | 0 | 0 | 0 | 0.43333 | 0 | 0.43333 | 3.705 | 1.0833 | 0.79167 | 2.365 | 0
|  | 2022-06-01 04:45 | 15.1883 | 96.2464 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.11679 | 0 | 352 | 0.41 | 0.94 | 0.5 | 5.49 | 0.5 | 0.5 | 0.86 | 10.579 | 26 | 17.3484 | 26 | 0 | 0 | 26 | 19 | 33 | 0 | 0 | 1.001 | 1.0011 | 0 | 0 | 0 | 0.88833 | 1.359 | 1.0833 | 0 | 1.0833 | 0.79167 | 2.365 | 0
|  | 2022-06-01 04:50 | 15.1619 | 96.2672 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00089041 | 0 | 352 | 0.41 | 1 | 0.34 | 6 | 0.49 | 0.72 | 1 | 9.98 | 26 | 26 | 26 | 0 | 0 | 26 | 19 | 33 | 0 | 0 | 1.001 | 1.0011 | 0 | 0 | 0 | 0.88833 | 2.1667 | 0.73667 | 0 | 1.0617 | 1.14 | 2.75 | 0
|  | 2022-06-01 04:55 | 15.3291 | 96.0884 | 2.5507 | 0 | 0 | 0 | 0.21256 | 0 | 0.21256 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.02392 | 298.51 | 0.41 | 0.81 | 0.5 | 5.49 | 0.5 | 0.72 | 1.84 | 9.98 | 0 | 0 | 0 | 47 | 0 | 26 | 19 | 0 | 0 | 0 | 1.001 | 1.0011 | -63.5134 | 0 | -63.5134 | 0 | 0 | 0 | 21.5025 | 1.0833 | 1.14 | 0 | 0
|  | 2022-06-01 05:00 | 15.3106 | 96.0884 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.42545 | 0 | 300.01 | 0.37 | 0.81 | 0.2 | 5.94 | 0.5 | 0.86 | 0.86 | 10 | 26 | 0 | 26 | 0 | 0 | 26 | 19 | 33 | 0 | 0 | 1.001 | 1.0011 | 0 | 0 | 0 | 0.80167 | 0 | 0.43333 | 0 | 1.0833 | 1.3617 | 2.365 | 0
|  | 2022-06-01 05:05 | 15.2907 | 96.1083 | 0.033333 | 0 | 0 | 0 | 0.0027778 | 0 | 0.0027778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1762 | 0 | 300.01 | 0.41 | 0.81 | 0.5 | 5.49 | 0.5 | 0.5 | 0.86 | 13.35 | 0 | 0 | 0 | 47 | 0 | 26 | 19 | 33 | 0 | 0 | 1.001 | 1.0011 | -0.83419 | 0 | -0.83419 | 0 | 0 | 0 | 21.5025 | 1.0833 | 0.79167 | 2.365 | 0
|  | 2022-06-01 05:10 | 15.2829 | 96.1282 | 0.12667 | 0 | 0 | 0 | 0.010556 | 0 | 0.010556 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.29711 | 302.0001 | 0.41 | 0.5 | 0.5 | 4.94 | 0.5 | 0.86 | 0.5 | 7.84 | 0 | 0 | 0 | 47 | 0 | 26 | 19 | 33 | 0 | 0 | 1.001 | 1.0011 | -3.191 | 0 | -3.191 | 0 | 0 | 0 | 19.3483 | 1.0833 | 1.3617 | 1.375 | 0
|  | 2022-06-01 05:15 | 15.2736 | 96.148 | 0.20267 | 0.64622 | 0 | 0 | 0.016889 | 0 | 0.016889 | 0.004 | 0 | 0 | 0 | 0.00033333 | 0 | 0.00033333 | 0 | 0.44505 | 352 | 0.37 | 0.45 | 0.2 | 5.94 | 0.5 | 0.5 | 0.5 | 10.51 | 26 | 26 | 26 | 18 | 0 | 26 | 19 | 33 | 0 | 0 | 1.001 | 1.0011 | -5.9508 | 0.11746 | -5.8334 | 0.80167 | 0.975 | 0.43333 | 8.91 | 1.0833 | 0.79167 | 1.375 | 0
|  | 2022-06-01 05:20 | 15.247 | 96.1679 | 0.016 | 0.15441 | 0 | 0 | 0.0013333 | 0 | 0.0013333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70537 | 354.2102 | 0.2 | 0.45 | 0.14 | 5.49 | 0.5 | 0.86 | 0.5 | 9.98 | 26 | 26 | 26 | 0 | 0 | 26 | 19 | 33 | 0 | 0 | 1.001 | 1.0011 | -0.47275 | 0 | -0.47275 | 0.43333 | 0.975 | 0.30333 | 0 | 1.0833 | 1.3617 | 1.375 | 0
|  | 2022-06-01 05:25 | 15.2251 | 96.1877 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.809 | 394.4019 | 0.2 | 0.45 | 0.14 | 5.49 | 0.5 | 0.86 | 0.5 | 9.98 | 26 | 26 | 26 | 0 | 0 | 26 | 19 | 33 | 0 | 0 | 1.001 | 1.0011 | 0 | 0 | 0 | 0.43333 | 0.975 | 0.30333 | 0 | 1.0833 | 1.3617 | 1.375 | 0
|  | 2022-06-01 05:30 | 16.1434 | 96.2076 | 13.304 | 0 | 47 | 5 | 1.1087 | 1.9583 | -0.84967 | 0.55333 | 0 | 0 | 0 | 0.046111 | 0 | 0.046111 | 0 | 0.77274 | 394.2799 | 0.37 | 0.5 | 0.34 | 6 | 0.5 | 0.5 | 0.5 | 7.99 | 0 | 0 | 0 | 0 | 47 | 26 | 19 | 33 | 0 | 0 | 1.001 | 1.0011 | -437.5621 | 18.2007 | -419.3614 | 0 | 0 | 0 | 0 | 1.0833 | 0.79167 | 1.375 | 31.2942
|  | 2022-06-01 05:35 | 19.6329 | 96.2275 | 46.3507 | 38.0373 | 47 | 5 | 3.8626 | 3.9167 | -0.054111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.293 | 129.9997 | 0.41 | 0.5 | 0.34 | 5.94 | 0.5 | 0.75 | 0.5 | 9.98 | 0 | 0 | 0 | 0 | 0 | 26 | 19 | 33 | 0 | 0 | 1.001 | 1.0011 | -502.633 | 0 | -502.633 | 0 | 0 | 0 | 0 | 1.0833 | 1.1875 | 1.375 | 0
|  | 2022-06-01 05:40 | 23.1559 | 96.2473 | 47 | 47.0024 | 47 | 5 | 3.9167 | 3.9167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.25 | 220.3799 | 0.42 | 0.5 | 0.5 | 6 | 0.5 | 0.75 | 0.5 | 14.4 | 0 | 0 | 0 | 0 | 0 | 26 | 19 | 33 | 0 | 0 | 1.001 | 1.0011 | -864.0179 | 0 | -864.0179 | 0 | 0 | 0 | 0 | 1.0833 | 1.1875 | 1.375 | 0
|  | 2022-06-01 05:45 | 26.0494 | 96.2672 | 38.168 | 46.9986 | 47 | 5 | 3.1807 | 3.9167 | -0.736 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4048 | 215.9803 | 0.37 | 0.45 | 0.2 | 5.49 | 0.5 | 0.86 | 0.86 | 9.98 | 0 | 0 | 0 | 0 | 47 | 17 | 12 | 21 | 0 | 33 | 1.001 | 1.0011 | -687.6485 | 0 | -687.6485 | 0 | 0 | 0 | 0 | 0.70833 | 0.86 | 1.505 | 66.5333
|  | 2022-06-01 05:50 | 27.6762 | 96.0884 | 21.248 | 24.9966 | 47 | 5 | 1.7707 | 3.9167 | -2.146 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3203 | 300.01 | 0.42 | 0.45 | 0.34 | 31.81 | 0.5 | 0.5 | 0.5 | 8.39 | 0 | 0 | 0 | 0 | 47 | 17 | 12 | 0 | 0 | 33 | 1.001 | 1.0011 | -531.7489 | 0 | -531.7489 | 0 | 0 | 0 | 0 | 0.70833 | 0.5 | 0 | 55.9333
|  | 2022-06-01 05:55 | 29.4027 | 96.0884 | 22.7013 | 8.5324 | 47 | 5 | 1.8918 | 3.9167 | -2.0249 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4045 | 352 | 0.41 | 0.5 | 0.45 | 15 | 0.5 | 0.5 | 0.86 | 8.75 | 0 | 0 | 0 | 0 | 47 | 17 | 12 | 0 | 0 | 33 | 1.001 | 1.0011 | -666.5717 | 0 | -666.5717 | 0 | 0 | 0 | 0 | 0.70833 | 0.5 | 0 | 58.3333
|  | 2022-06-01 06:00 | 31.0441 | 96.0884 | 22.0573 | 39.65 | 0 | 5 | 1.8381 | 1.9583 | -0.12022 | 0.54 | 0 | 0 | 0 | 0.045 | 0 | 0.045 | 0 | 0.0037317 | 300.01 | 0.16 | 0.38 | 0.03 | 6 | 0.5 | 0.86 | 0.73 | 18.43 | 26 | 26 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 1.001 | 1.0011 | -552.0032 | 13.5153 | -538.4879 | 0.34667 | 0.82333 | 0.065 | 0 | 0 | 0 | 0 | 76.7917
|  | 2022-06-01 06:05 | 29.5281 | 96.0534 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.78 | 5.2193 | 0 | 0 | 1.4817 | 0 | 1.4817 | 0.20713 | 0 | 302.0004 | 0.17 | 0.45 | 0.03 | 31.81 | 0.5 | 2.25 | 8.68 | 9.99 | 0 | 0 | 0 | 47 | 0 | 0 | 0 | 0 | 0 | 50 | 1.001 | 1.0011 | 0 | 447.9561 | 447.9561 | 0 | 0 | 0 | 124.5892 | 0 | 0 | 0 | 41.625
|  | 2022-06-01 06:10 | 27.8678 | 96.0183 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.4867 | 22.8979 | 0 | 0 | 1.6239 | 0 | 1.6239 | 0 | 0.047379 | 451.01 | 0.42 | 4.5 | 0.5 | 80 | 0.5 | 2 | 2.5 | 66.81 | 26 | 26 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 1.001 | 1.0011 | 0 | 733.1958 | 733.1958 | 0.91 | 9.75 | 1.0833 | 0 | 0 | 0 | 0 | 278.375
|  | 2022-06-01 06:15 | 27.2353 | 95.9833 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.224 | 10.6464 | 0 | 0 | 0.602 | 0 | 0.602 | 0 | 0.71639 | 451.01 | 0.41 | 2 | 0.2 | 20.9 | 0.5 | 2 | 4.35 | 20.68 | 26 | 26 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 1.001 | 1.0011 | 0 | 271.8067 | 271.8067 | 0.88833 | 4.3333 | 0.43333 | 0 | 0 | 0 | 0 | 86.1667
|  | 2022-06-01 06:20 | 26.5891 | 95.9482 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.4853 | 7.0855 | 0 | 0 | 0.62378 | 0 | 0.62378 | 0 | 0.97771 | 451.01 | 0.16 | 0.45 | 0.14 | 4.94 | 0.5 | 0.86 | 0.86 | 10.98 | 26 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 1.001 | 1.0011 | 0 | 281.6395 | 281.6395 | 0.34667 | 0 | 0.30333 | 0 | 0 | 0 | 0 | 45.75
|  | 2022-06-01 06:25 | 25.0852 | 95.9131 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.768 | 8.4123 | 0 | 0 | 1.4807 | 0 | 1.4807 | 0 | 0.94475 | 451.01 | 0.16 | 0.38 | 0.05 | 5.49 | 0.5 | 0.86 | 1 | 10.98 | 26 | 26 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 1.001 | 1.0011 | 0 | 668.53 | 668.53 | 0.34667 | 0.82333 | 0.10833 | 0 | 0 | 0 | 0 | 45.75
|  | 2022-06-01 06:30 | 23.4627 | 96.1369 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.0293 | 19.3542 | 0 | 0 | 1.5858 | 0 | 1.5858 | 0 | 1.2305 | 451.01 | 0.16 | 0.45 | 0.14 | 5.49 | 0.5 | 0.75 | 0.73 | 11.68 | 26 | 26 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 1.001 | 1.0011 | 0 | 715.9884 | 715.9884 | 0.34667 | 0.975 | 0.30333 | 0 | 0 | 0 | 0 | 48.6667
|  | 2022-06-01 06:35 | 21.6434 | 96.1985 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.3867 | 17.7662 | 14 | 5 | 1.7822 | 0.58333 | 1.1989 | 0 | 1.1308 | 451.01 | 0.16 | 0.45 | 0.05 | 9 | 0.5 | 0.95 | 1.49 | 14.45 | 26 | 26 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 1.001 | 1.0011 | 0 | 804.6842 | 804.6842 | 0.34667 | 0.975 | 0.10833 | 0 | 0 | 0 | 0 | 42.1458
|  | 2022-06-01 06:40 | 18.6364 | 96.2602 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34.9653 | 30.2732 | 0 | 5 | 2.9138 | 0.58333 | 2.3304 | 0 | 0.05095 | 451.01 | 0.16 | 0.45 | 0.45 | 13 | 0.5 | 1 | 1.95 | 11.68 | 26 | 26 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 1.001 | 1.0011 | 0 | 1315.5885 | 1315.5885 | 0.34667 | 0.975 | 0.975 | 0 | 0 | 0 | 0 | 48.6667
|  | 2022-06-01 06:45 | 17.1256 | 96.0884 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.656 | 27.1278 | 0 | 0 | 1.4713 | 0 | 1.4713 | 0 | 0.87873 | 451.01 | 0.16 | 0.45 | 0.45 | 13 | 0.5 | 1.43 | 2 | 11.68 | 26 | 26 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 1.001 | 1.0011 | 0 | 664.316 | 664.316 | 0.34667 | 0.975 | 0.975 | 0 | 0 | 0 | 0 | 48.6667
|  | 2022-06-01 06:50 | 16.9913 | 96.0884 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4387 | 12.8519 | 0 | 0 | 0.11989 | 0 | 0.11989 | 0 | 1.2904 | 451.01 | 0.16 | 0.38 | 0.05 | 9 | 0.5 | 1 | 1.95 | 22.31 | 26 | 26 | 26 | 0 | 0 | 26 | 19 | 10.9367 | 0 | 0 | 1.001 | 1.0011 | 0 | 54.1306 | 54.1306 | 0.34667 | 0.82333 | 0.10833 | 0 | 1.0833 | 1.5833 | 1.7772 | 0
|  | 2022-06-01 06:55 | 16.9712 | 96.0884 | 0.085333 | 0 | 0 | 0 | 0.0071111 | 0 | 0.0071111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75752 | 451.01 | 0.16 | 0.45 | 0.05 | 5.49 | 0.68 | 1 | 1.95 | 20.68 | 26 | 26 | 26 | 12 | 0 | 26 | 19 | 18.7545 | 0 | 0 | 1.001 | 1.0011 | -3.2104 | 0 | -3.2104 | 0.34667 | 0.975 | 0.10833 | 5.49 | 1.4733 | 1.5833 | 3.0476 | 0
|  | 2022-06-01 07:00 | 16.9538 | 96.0884 | 0.054667 | 0.38506 | 0 | 0 | 0.0045556 | 0 | 0.0045556 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.73474 | 451.01 | 0.16 | 0.17 | 0.03 | 5.49 | 0.72 | 1.49 | 1.95 | 22.35 | 26 | 26 | 26 | 0 | 0 | 26 | 19 | 17.5985 | 0 | 0 | 1.001 | 1.0011 | -2.0567 | 0 | -2.0567 | 0.34667 | 0.36833 | 0.065 | 0 | 1.56 | 2.3592 | 2.8598 | 0
|  | 2022-06-01 07:05 | 16.9294 | 96.1143 | 0.010667 | 0 | 0 | 0 | 0.00088889 | 0 | 0.00088889 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.98108 | 451.01 | 0.16 | 0.45 | 0.19 | 22.02 | 0.72 | 2 | 1.95 | 22.58 | 26 | 26 | 26 | 7 | 0 | 26 | 19 | 29.8139 | 0 | 0 | 1.001 | 1.0011 | -0.4013 | 0 | -0.4013 | 0.34667 | 0.975 | 0.41167 | 12.845 | 1.56 | 3.1667 | 4.8448 | 0
|  | 2022-06-01 07:10 | 16.9023 | 96.1402 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6736 | 451.01 | 0.16 | 0.17 | 0.03 | 7.5 | 0.68 | 1.95 | 1.43 | 12.47 | 26 | 26 | 26 | 13 | 0 | 22.927 | 2.3394 | 0 | 0 | 0 | 1.001 | 1.0011 | 0 | 0 | 0 | 0.34667 | 0.36833 | 0.065 | 8.125 | 1.2992 | 0.38015 | 0 | 0
|  | 2022-06-01 07:15 | 16.8793 | 96.1661 | 0.092 | 0 | 0 | 0 | 0.0076667 | 0 | 0.0076667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.084808 | 0 | 451.01 | 0.15 | 0.17 | 0.03 | 7.5 | 0.68 | 1.95 | 1.48 | 13.35 | 26 | 26 | 26 | 8 | 0 | 20.1959 | 6.3205 | 0 | 0 | 0 | 1.001 | 1.0011 | -3.4612 | 0 | -3.4612 | 0.325 | 0.36833 | 0.065 | 5 | 1.1444 | 1.0271 | 0 | 0
|  | 2022-06-01 07:20 | 16.8761 | 96.192 | 0.27333 | 0.52803 | 0 | 0 | 0.022778 | 0 | 0.022778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.81773 | 0 | 451.01 | 0.08 | 0.15 | 0.03 | 9 | 0.72 | 1.49 | 0.95 | 20.68 | 26 | 26 | 26 | 14 | 0 | 26 | 0 | 33 | 0 | 0 | 1.001 | 1.0011 | -10.2833 | 0 | -10.2833 | 0.17333 | 0.325 | 0.065 | 10.5 | 1.56 | 0 | 2.6125 | 0
|  | 2022-06-01 07:25 | 16.8497 | 96.2179 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.98165 | 0 | 451.01 | 0.16 | 0.45 | 0.03 | 10.88 | 0.72 | 1.95 | 0.95 | 11.68 | 26 | 26 | 26 | 14 | 0 | 26 | 1.4083 | 31.7582 | 0 | 0 | 1.001 | 1.0011 | 0 | 0 | 0 | 0.34667 | 0.975 | 0.065 | 12.6933 | 1.56 | 0.22885 | 2.5142 | 0
|  | 2022-06-01 07:30 | 16.8282 | 96.2438 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82586 | 0 | 463.0754 | 0.08 | 0.15 | 0.03 | 9 | 0.72 | 1.95 | 0.95 | 11.68 | 26 | 26 | 26 | 14 | 0 | 26 | 16.8996 | 28.9865 | 0 | 0 | 1.001 | 1.0011 | 0 | 0 | 0 | 0.17333 | 0.325 | 0.065 | 10.5 | 1.56 | 2.7462 | 2.2948 | 0
|  | 2022-06-01 07:35 | 16.7933 | 96.2697 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5241 | 0 | 491.9055 | 0.08 | 0.15 | 0.03 | 20.9 | 0.8 | 2 | 1 | 10.51 | 26 | 26 | 26 | 0 | 0 | 26 | 19 | 33 | 0 | 0 | 1.001 | 1.0011 | 0 | 0 | 0 | 0.17333 | 0.325 | 0.065 | 0 | 1.7333 | 3.1667 | 2.75 | 0
|  | 2022-06-01 07:40 | 16.7534 | 96.0996 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35879 | 0 | 494.557 | 0.15 | 0.19 | 0.03 | 18.81 | 0.86 | 1.49 | 0.95 | 10.98 | 26 | 26 | 26 | 0 | 0 | 26 | 0 | 12.4898 | 0 | 0 | 1.001 | 1.0011 | 0 | 0 | 0 | 0.325 | 0.41167 | 0.065 | 0 | 1.8633 | 0 | 0.98878 | 0
|  | 2022-06-01 07:45 | 16.7106 | 96.1056 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19585 | 0 | 451.01 | 0.08 | 0.15 | 0.03 | 20.4239 | 2 | 7.47 | 4.35 | 12.47 | 26 | 26 | 26 | 0 | 0 | 26 | 19 | 33 | 0 | 0 | 1.001 | 1.0011 | 0 | 0 | 0 | 0.17333 | 0.325 | 0.065 | 0 | 4.3333 | 11.8275 | 11.9625 | 0
|  | 2022-06-01 07:50 | 16.6824 | 96.1056 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.22663 | 0 | 488.0042 | 0.08 | 0.45 | 0.03 | 12.5 | 2 | 8.68 | 4.35 | 11.68 | 26 | 26 | 26 | 0 | 0 | 26 | 19 | 33 | 0 | 0 | 1.001 | 1.0011 | 0 | 0 | 0 | 0.17333 | 0.975 | 0.065 | 0 | 4.3333 | 13.7433 | 11.9625 | 0
|  | 2022-06-01 07:55 | 16.6553 | 96.1056 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.52983 | 0 | 471.8315 | 0.16 | 0.45 | 0.05 | 18.81 | 1.84 | 2 | 1.84 | 5.42 | 26 | 26 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.001 | 1.0011 | 0 | 0 | 0 | 0.34667 | 0.975 | 0.10833 | 0 | 0 | 0 | 0 | 0
|  | 2022-06-01 08:00 | 16.9091 | 96.1056 | 3.4987 | 0 | 0 | 0 | 0.29156 | 0 | 0.29156 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.55971 | 0 | 458.1326 | 0.08 | 0.17 | 0.03 | 20.9 | 1.84 | 2.25 | 1.43 | 5.42 | 26 | 26 | 26 | 17 | 0 | 26 | 19 | 0 | 0 | 0 | 1.001 | 1.0011 | -133.7047 | 0 | -133.7047 | 0.17333 | 0.36833 | 0.065 | 29.6083 | 3.9867 | 3.5625 | 0 | 0