## Sunraysia SF
Generator name | Capacity (MW) | (1) Ancillary service requirements | (2) Level and pattern of network congestion | (3) Impact on timing of expenditure on the network | (4) Impact on interconnector power transfer capability
Wallgrove BESS | 50 | There were no new ancillary service contracts in South-western NSW in the 12 months prior to, or following, the commissioning of the Wallgrove BESS. | The connection of Wallgrove BESS has increased the generation capacity in Sydney West NSW. When Wallgrove BESS is generating, it has the potential to increase the utilisation of surrounding Sydney West 330kV and 132kV network lines. There is no major constraint changes cause by the connection of Wallgrove BESS in the 12 months prior and after the connection. | No project timings have been affected by the inclusion of Wallgrove BESS. | Wallgrove BESS is in Greater Sydney area of NSW and does not have direct influence on either Victoria or Queensland interconnector power capability.
Note on D1: Dragana Hele: Compare it with constraint spreadsheet
Note on F2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Check with Gang for contribution factor and constraint line