## EOI form
CONFIDENTIAL under clause 8.6.1 of the National Electricity Rules - Expression of interest (EOI) to provide System Strength Services to Transgrid
Question | Proponent Response (please duplicate this column if offering multiple solutions) | Notes to Proponents
|  |  | Applicable to | Response (DD/MM/YYYY) | Clarifications (DD/MM/YYYY) | Clarifications (DD/MM/YYYY)
Contact details
Key contact name | [insert] | Name of the key contact for this EOI | All
Contact email address | [insert] | Email address for the key contact | All
Contact phone number | [insert] | Phone number for the key contact | All
Asset details
DUID | [insert] | Dispatchable unit identifier of the asset (if known; if no DUID currently applies, one will be allocated by AEMO) | All
Number of production units in the DUID that can provide system security services | [insert] | Only count production units that can provide system security services. Minimum 1. "Production Unit" has the meaning defined in the NER. For example, for a hybrid solar / grid-forming BESS facility comprising two production units, one production unit (the grid-forming BESS) can provide system security services. The solar farm is not grid-forming and hence cannot provide a system security service, and the individual modules comprising the BESS are not production units. | All
Equipment Type | [insert] | e.g. synchronous generator or motor (with or without synchronous condenser capability), synchronous condenser, grid forming BESS, grid forming renewables, hybrid solar/wind/grid-forming BESS (AC or DC coupled) | All
Nameplate ratings
Rated Capacity (MVA) | [insert] | If multiple production units, specify ratings for each | All
Rated Capacity (MW) | [insert] | If multiple production units, specify ratings for each | All
Storage duration (MWh) | [insert] | Applicable for storage projects only | Storage only
Contract details
Facility name | [insert] | Station name | All
Provider Participant ID | [insert] | Preferred Provider Participant ID (max 8 characters) | All
Provider Company Name | [insert] |  | All
Provider Trading Name | [insert] | This is the same as the provider company name unless the participant advises they are trading under a different name. In which case, a Letter of Authority is required. | All
Provider ABN | [insert] |  | All
Provider ACN | [insert] |  | All
Asset Location Details | [insert] | Address, city, state, postcode | All
Expected Service Date | [insert] | Date by which the Asset is expected to be able to provide system strength services (e.g. Commercial Operation Date, or completion date for any necessary plant/settings alteration) | All
Indicative contract price
Proposed fees payable for the provision of system strength services. The intention of this section is to be indicative only and non-binding. To comply with the AEMO Security Enablement Procedure, the fee structure should include components for Establishment, Availability, Enablemnent, and Variable costs (any of which may be $0). Prices are to be provided in real terms (FY 26$) and indexation will be negotiated during the tender process. Note for grid-forming BESS: - Grid-forming BESS will be contracted on an "always on" basis, i.e. they are considered to be both Available and Enabled (i.e. providing the system security service) whenever they are synchronised, and hence will only be paid for Establishment and Availability (i.e. no Enablement or Variable fee). - Grid-forming BESS do not need to reserve any MW or MWh capacity or dispatch any energy to provide system security services, so the Availability Fee should not include any costs or opportunity costs of using or reserving any MW or MWh capacity.
Establishment Fee (FY26$) | [insert] | Establishment Fee: one-off setup cost for the total solution, if applicable. If there are multiple units, please specify prices per unit and total solution. | All
Availability Fee (FY26$/month) | [insert] | Availability Fee: monthly payment for the service to be made available to Transgrid. This is intended to cover fixed costs for providing the service. State if figure is per unit or for total solution. | All
Enablement Fee (FY26$) | [insert] (N/A for grid-forming BESS) | Enablement Fee: $ per event, intended to cover the cost of the service being enabled/activated. This is intended to cover startup costs (if any). State if figure is per unit or for total solution. | Synchronous only
Variable Fee (FY26$/MWh or FY26$/h) | [insert] (N/A for grid-forming BESS) | Variable Fee: $/MWh fee to operate at the minimum stable operating level for synchronous generators, or $/unit/hour for synchronous condensers. | Synchronous only
Connection details
Point of connection | [insert] | Transgrid substation that the project will connect to | All
Connection Status | [insert] | Please confirm status of connection application or plant/settings alteration (submitted and/or approved) e.g. 5.3.4A, 5.3.9, S5.2.2 | All
Plant Alterations | [insert] | Provide details of any plant or GPS alterations that are currently planned and/or in progress or proposed as part of the Proposal to provide Services. This could include: • Description of and reason for works • Impact on technical performance in terms of GPS, provision of system security services, and whether power system models will need to be updated • Related planned outages • Works completion date | All
Conditions of Connection | [insert] | Please provide details of any expected conditions of connection that may affect the plant's ability to provide system strength services, which are not already covered above or in an attachment to your submission (e.g. GPS and/or 5.3.4A letter). | All
Inverter details (applicable only for grid-forming BESS, and grid-forming BESS component of hybrid projects)
Inverter make (OEM) | [insert] | Please duplicate these rows as necessary, e.g. if your project is using or considering multiple types of inverters. | Grid-forming BESS Only
Inverter model number | [insert] |  | Grid-forming BESS Only
Nameplate rating per inverter (MVA) | [insert] |  | Grid-forming BESS Only
Quantity of inverters | [insert] |  | Grid-forming BESS Only
Inverters comply with Transgrid’s functional requirements | [Yes / No / comments] | Please confirm the inverters referenced above comply with Transgrid’s "Grid Forming BESS Characteristics to Support Voltage Waveform", refer to section 6 of https://www.transgrid.com.au/media/fctbpgif/2406-transgrid_stable-voltage-waveform-support-specifications-for-grid-forming-bess.pdf | Grid-forming BESS Only
Decision status | [insert] | Please advise if your answers in this section (inverter details) are confirmed (and that you can guarantee that they won’t change), otherwise please advise when you expect they will be confirmed, and what the potential changes may be. | Grid-forming BESS Only
Operational considerations
Planned outage requirements | [insert] | Please provide details of typical planned outage schedule, e.g. for each type of outage: duration, frequency (e.g. every x years or after every x hours of operation), partial outage (e.g. one module / unit at a time) or full site outage. | All
Planned outage flexibility | [insert] | Please provide details of flexibility in planning outages in response to requests by Transgrid (or AEMO). | All
Operational restrictions | [insert] | List any changes to specifications or operational restrictions that may apply when providing the Services. | All
Operational issues affecting the system security service | [insert] | Provide details of any operational issues or configurations that may have a material adverse impact on the provision of Services, e.g. remedial action scheme that disconnects a portion of the GFM BESS after a particular contingency | All
Operational details (applicable only for synchronous machines, including doubly-fed induction generator (DFIG))
Default minimum dispatch | [insert] | Pmin (MW). The default minimum stable level of energy dispatch (in absolute terms) required to provide the system security service. This should be zero for synchronous condenser mode (exclude auxiliary load). | Synchronous only
Auxiliary load; e.g. for synchronous condensers | [insert] | (MW) | Synchronous only
Inertia contribution | [insert] | Megawatt seconds (MWs) | Synchronous only
Fault current contribution | [insert] | Megavolt amperes (MVA) at the point of connection | Synchronous only
Activation lead time | [insert] | Expected time following a enablement instruction for the machine to synchronise (minutes). If this varies depending on the scenario (e.g. hot/cold standby), please provide details. | Synchronous only
Minimum enablement duration | [insert] | The minimum enablement duration for the system security service (minutes) | Synchronous only
Maximum enablement duration | [insert] | For synchronous generators without synchronous condenser capability - the maximum enablement duration for the system security service, e.g. due to fuel supply limitations (minutes or hours) | Synchronous only
Annual enablement limitation | [insert] | Is there any technical or commercial limitation on the number of hours per year that your units could be enabled to provide system security services? | Synchronous only
Continuity of service during mode changes | [insert] | For synchronous machines that can change modes (e.g. pumping / generating / syncon mode), does the machine need to desynchronise when changing modes? If so: - How long is the break in synchronisation? - How will you maintain continuous provision of system strength during a period of enablement? | Synchronous only
Expected annual availabilty (%) | [insert] | If multiple production units, specify expected availablity for each | Synchronous only
Expected retirement date | [insert] |  | Synchronous only
Power systems modelling package
Have you previously submitted a power systems modelling package for this project to Transgrid? --> If yes, complete Part A. --> If no, complete Part B. | [yes / no] | e.g. as part of a connection application, 5.3.9 application, or R2 model validation | All
Power systems modelling package - Part A (models previously submitted)
Consent for Transgrid to use models | [yes / no] | Please confirm your consent for Transgrid to use any data Transgrid holds on your project (e.g. power system models submitted to Transgrid for the purpose of a connection application, 5.3.9, or R2 model validation) to assess the technical performance of your proposed system strength solution (i.e. a different purpose to what they were originally intended for) | All
Confidentiality / licence agreements | [yes / no / details] | Please confirm that Transgrid’s use and retention of these models to assess the technical performance of your proposed system strength solution will not cause you or Transgrid to be in breach of any existing confidentiality or licence agreements; or please advise if this requires a new confidentiality or licence agreement to be put in place between Transgrid and the Proponent and/or inverter OEM. | All
Latest model version / date | [insert] | Please advise dates and version numbers of the latest models submitted to Transgrid, so that we can make sure we obtain and use the latest versions. | All
Models fit for purpose | [yes / no / details] | Please confirm these models are fit for the purpose of assessing the technical performance of your proposed system strength solution, i.e. they accurately represent the technical performance of your plant if/when it is contracted and enabled to provide system strength services. Provide details of any caveats we should be aware of. | All
Expected changes | [yes / no / details] | Please provide details of any expected changes to these models that Transgrid should be aware of, e.g. if you are planning a plant/setting alteration, either to enable or enhance provision of system strength services, or for other reasons. | All
Power systems modelling package - Part B (no models previously submitted)
Expected submission date | [insert] | Please advise when you expect to submit models to Transgrid as part of your connection application | All
Other information | [insert] | Please provide any other information that may help Transgrid assess the technical performance of your propose system strength solution in the meantime | All